|  | Changes to approved documents assessment tool |
| --- | --- |
| Amendment | New fire system in commercial building Cladding type (light/heavy) | Additional bathroom or kitchen Change construction block wall changed to tilt panel New specified system (Extract hood added commercial tenancy) | Increase foot print >10 sq./m Removal of carparks from an industrial/commercial development |
| Office MV | Shower membrane type change sheet to liquid Insulation type change batts to rigid foam (fibreglass to polystyrene) Fire type change from free standing inbuilt Cladding product change to IL2/habitable buildings | Shower type changed from acrylic to tiled Cladding partial change in the cladding system (e.g., more horizontal weatherboards than was originally approved) Engineering changes Minor structural engineering changes Alter (e.g., add skylights) | Minor drainage changes for commercial buildings Altered layout within a commercial tenancy not affecting fire compliance Remove a carport off the plans Minor increase in foot print (e.g., <10 sq./m) that does not affect compliance |
| On site MV | Shower membrane change brand (appraised product) Insulation change brand (same thickness & R value) Fire changes for free standing tested to AS/NZS 2918) Cladding changes to IL1 or ancillary building | Foundations block foundation to poured in situ (or vice versa) Bracing minor wall bracing change Walls minor change in location of internal non loadbearing walls | Drains As built Simple residential drainage changes and/or alterations |
|  | Product substitution | Construction change | Layout change |

# Text boxes

Complexity