## Instructions
General Instructions:
Fill out '1. Site Details and Inputs' tab first. Please note the following:
Site ID is the TechOne asset ID that can be found in TechOne and entered in the Site Details & Inputs table prior to submission of this form - this will auto populate in the 'Asset List'
Resource consent number must be the consent number that 224c will be issued against.
It is recommended that the O&M manual and asset register data is compiled together and that all commissioning checks and approval of the facility by the QLDC 3 Waters contract manager is completed prior to submission of this document to reduce potential rework.
Complete '2. Asset List' as per key and defintions below:
For Renewals: QLDC will not accept any asset data without confirming the TechOne asset Number of the replaced/renewed existing asset.
Key: |  | Definitions for Asset List
Only required where an asset has been renewed
As per QLDC Asset Identification Policy |  | Field Name | Field Type | Description | Character/Limits
Calculated |  | Site Code | Calculation | GIS compkey of the polygon or facility assets are assigned to
To be completed as appropriate |  | P&ID | Required | Process and Instrument Diagram that references the tag number as per the QLDC Asset Identification Policy
Optional for subdivision/vested assets |  | Asset Type Code | Calculation | Lookup/calculation | Lookup/calculation
QLDC Use Only |  | Area | Required | As per QLDC Asset Identification Policy
|  | UniqueID | Required | As per QLDC Asset Identification Policy
|  | TAG No. | Calculation | Lookup/calculation | Lookup/calculation
|  | Renewal? | Required | Is this a renewal/replacement of an existing asset | Dropdown
|  | QLDC ID of renewed asset | Required if renewal | If it is a renewal/replacement, then what asset was replaced?
|  | Asset Description | Required | What is the asset and what does it do? | 255 characters
|  | Asset Type Name | Required | Selection list - pick the aset type. Please contact QLDC is the asset type required is not included. | Dropdown
|  | Medium | Where appropriate | What medium is passing through asset, e.g. potable water, air, waste water, treated wastewater | 40 characters
|  | Serial Number | Where appropriate | manufacturers Serial Number | 40 characters
|  | Manufacturer | Where appropriate | Manufacturers Name, please select from MFG Lookup where possible | 40 characters
|  | Model | Where appropriate | Manufacturers Model Name/Number | 40 characters
|  | Capacity | Where appropriate | Asset capacity, e.g. m3 for tanks, l/s for pumps
|  | Dimensions | Where appropriate | Nominal (DN) size of asset | Numeric
|  | Install Date | Required | Date of installation | DD/MM/YYYY
|  | Ownership | Required | Selection lIst - either 'Private' or 'Pending' where asset is to be vested to QLDC | Dropdown
|  | Replacement Cost | Optional | Full installation cost including overheads | Numeric
|  | Pressure Rating | Where appropriate | Pressure ating of asset where applicable (PN) | Numeric
|  | Design Life | Required | Expected design/physical life of asset in this installation | Numeric
|  | Comment | Where appropriate | Any other information | 40 characters
Contacts:
Role | Name | Email | Contact reason
QLDC 3 Waters Asset Manager | Morgana Laner | morgana.laner@qldc.govt.nz | General
QLDC 3 Waters Contract Manager | Andrew Hart | andrew.hart@qldc.govt.nz | Operations
QLDC 3 Waters Asset Technician | Joseph Deyo | Joseph.deyo@qldc.govt.nz | Data details

## 1. Site Details & Inputs
Inputs
Input | Value | Comment
Development/Project Name
RC Number
Primary Contractor/Project Manager
Asset Register Submitted By
Date Submitted:
Revision
Site Code |  | Found in TechOne or Site Compkey of GIS Polygon
SCADA RTU Number |  | If applicable - to be requested from QLDC Three Waters Contractor prior to submission of as-built and asset register template.
Operations and Maintenance Manual Name |  | Please attached approved O&M manual with submission
PLEASE PROVIDE SNIP OF GIS POLYGON >>>>>>>>>>

## 2. Asset List
Site Code | P&ID | Asset Type Code | Area | Equipment Number | TAG No. | Renewal? | QLDC ID of renewed asset | Asset Description | Asset Type Name | Medium | Serial Number | Manufacturer | Model | Capacity | Dimensions | Install Date | Ownership | Replacement Cost | Pressure Rating | Design Life | Comment | Additional Description | UNITTYPE | UNITDESC | Manufacturer (Drop Down) | MODELNO | COMPLEXKEY | SiteID | Mfg | SERVSTAT | INSTDATE | USGAREAKEY | Position | PURCCOST | PURCDATE | OWN | MapNo | SERNO
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0 |  |  |  | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
0
0 | [30 empty] | 0
0 | [30 empty] | 0
0 | [30 empty] | 0
Formulas:
INSTDATE = '2. Asset List'!$[Install Date]
PURCDATE = '2. Asset List'!$[INSTDATE]

## MFG Lookup
CODE | MFGKEY | FULLNAME | ADDR1 | ADDR2 | CITY | CNTCTKEY | COUNTRY | EXPDATE | IDKEY | PGR | STATE | ZIP
A0001 | 1242 | AARCON ODOUR CONTROL SYSTEMS | PO Box 6170 | Gold Coast MC, Bundall |  | 1019 | AUSTRALIA |  | 1018 | www.aarcon.com.au | Queensland | 9726
A0002 | 1009 | ABB NEW ZEALAND | 16 Vulcan Place | PO Box 2120 | Christchurch | 1020 | NEW ZEALAND |  | 1019 | www.abb.co.nz |  | 8140
A0003 | 1007 | ABBEY SYSTEMS LTD | L4 220 Willis Street | PO Box 27 497 | WELLINGTON | 1021 | New Zealand |  | 1020 | www.abbey.co.nz
A0005 | 1048 | ABLE SOLAR LTD (BP) | PO Box 79-153 | Royal Heights | Auckland | 1043 | New Zealand |  | 1042 | www.ablesolar.co.nz
A0006 | 1061 | ABS GROUP | Roskildevägen 1 | Box 394 | Malmö | 1022 | Sweden |  | 1021 | www.absgroup.com
A0007 | 1253 | AEROMIX | 7135 Madison Avenue West |  | Minneapolis | 1023 | USA |  | 1022 | www.aeromix.com | MN | 55427
A0008 | 1187 | ALFA LAVAL | 307 Sandwich Road |  | Hamilton | 1024 | New Zealand |  | 1023 | www.alfalaval.com
A0009 | 1188 | ALLEN-BRADLEY (Rockwell) | 118A Carbine Road |  | Auckland | 1025 | New Zealand |  | 1024 | www.ab.com
A0010 | 1279 | AMPP INDUSTRIES LTD | 10 Kennedy Place | Opawa | Christchurch | 1026 | New Zealand |  | 1025 | www.ampp.co.nz |  | 8022
A0011 | 1062 | APCO WILLAMETTE VALVE & PRIMER CORPORATION | 1100 Via Callejon |  | San Clemente | 1027 | USA |  | 1026 | www.apcovalves.com | California | 92673-6230
A0012 | 1185 | AQUATEC WATER SYSTEMS LTD |  |  |  | 1028 |  |  | 1027 | www.aquatec.com
A0013 | 1042 | ARI Valves | 8 Fisher Crescent, PO Box 12169 | Mt Wellington, Penrose | Auckland | 1029 | NEW ZEALAND |  | 1028 | www.arivalves.com
A0014 | 1295 | ARKAL FILTRATION SYSTEMS | Kibbutz Bet Zera | Jordan Valley |  | 1030 | Israel |  | 1029 | www.arkal-filters.com
A0015 | 1080 | ATLAS COPCO | Unit 2, 79 Waterloo Road | Hornby | Christchurch | 1031 | NEW ZEALAND |  | 1030 | www.atlascopco.co.nz
A0016 | 1029 | AUCOM ELECTRONICS LTD | 123 Wrights Rd, PO Box 80208 |  | Christchurch | 1032 | New Zealand |  | 1031 | www.aucom.com |  | 8440
A0017 | 1178 | AVK VALVES | 559A Grand Junction Road |  | Wingfield | 1033 | Australia |  | 1032 | www.avkvalves.com.au | South Australia | 5013
B0001 | 1053 | BADGER METERS | 4545 W. Brown Deer Road | P.O. Box 245036 | Milwaukee | 1034 | USA |  | 1033 | www.badgermeter.com | WI | 53224-9536
B0002 | 1191 | BAILEY FISCHER AND PORTER (MERGED) |  |  |  | 1035 |  |  | 1034
B0003 | 1272 | BAILEY VALVE | 264 W. Fallbrook Ave | Ste. 105 | Fresno | 1036 | USA |  | 1035 | sales@baileyvalve.com | CA
B0004 | 1212 | BERMAN (BRAND) |  |  |  | 1037 |  |  | 1036
B0005 | 1047 | BLAKEBOROUGH (BRAND) |  |  |  | 1039 |  |  | 1038
B0006 | 1229 | BERMAD (BRAND) |  |  |  | 1038 |  |  | 1037
B0007 | 1085 | BREMCA INDUSTRIES LTD | 25 Bond Street |  | Invercargill | 1040 | NEW ZEALAND |  | 1039 | www.bremca.co.nz |  | 9810
B0008 | 1285 | BROOK HANSEN NZ LTD | PO Box 58-100 | Greenmount | Auckland | 1041 | NEW ZEALAND |  | 1040 |  |  | 1730
B0009 | 1281 | BURFORD LTD | Gap Road West | No.1 R.D. | Winton | 1042 | NEW ZEALAND |  | 1041 | www.concretetanks.co.nz | Southland | 9781
B0010 | 1019 | BURT PROCESS EQUIPMENT (SIGNET) |  |  |  | 1044 |  |  | 1043 | www.signetsensors.com
B0011 | 1174 | BURWOOD |  |  |  | 1186 |  |  | 1185
B0013 | 1341 | BURKERT FLUID CONTROL SYSTEMS | 44 Rennie Drive, Airport Oaks |  | Auckland | 1299 | New Zealand |  | 1294 | www.burkert.co.nz |  | 2022
C0001 | 1175 | CATERPILLAR |  |  |  | 1045 |  |  | 1044
C0002 | 1083 | CEILCOTE AIR POLLUTION CONTROL |  |  |  | 1046 |  |  | 1045 | www.ceilcoteapc.com.sg
C0003 | 1040 | CLA-VAL | 308 Port Hills Road |  | Christchurch | 1047 | NEW ZEALAND |  | 1046 | www.cla-val.com
C0004 | 1190 | CLIVE WILSON LTD | 31 Clyde St |  | Invercargill | 1048 | NEW ZEALAND |  | 1047 | www.clivewilson.co.nz
C0005 | 1257 | COMPREX INDUSTRIES LTD | 33 Gladstone Street | Feilding, Manawatu | Manawatu-Wanganui | 1049 | NEW ZEALAND |  | 1048 |  |  | 4702
C0006 | 1251 | Crane Energy Flow Solutions | 146-154 Dunheved Circuit |  | St. Marys | 1050 | Australia |  | 1049 | www.cranevalve.com | NSW | 2760
C0007 | 1306 | Cummins Generator Technologies |  |  |  | 1205 |  |  | 1204 | cumminsgeneratortechnologies
C0008 | 1215 | Compton Pumps |  |  |  | 1204 |  |  | 1203
C0009 | 1323 | CARREL-ELECTRADE LTD | 661 Great South Rd | Penrose | Auckland | 1266 | New Zealand |  | 1265 | www.carrel-electrade.co.nz |  | 1061
D0001 | 1012 | DANFOSS PACIFIC | 6 George Bourke Drive, P O Box 12 - 422 | Penrose, Mt. Wellington | Auckland | 1055 | NEW ZEALAND |  | 1054 | www.danfoss.com
D0002 | 1236 | DENIS FERRANTI GROUP | Caernarfon Road |  | Bangor, Gwynedd | 1056 | UK |  | 1055 | www.dferrantigroup.com | North Wales | LL57 4SP
D0003 | 1211 | DENYO CO. LTD | 2-8-5, Nihonbashi-horidomecho | Chuo-ku | Tokyo | 1057 | Japan |  | 1056 | www.denyo.co.jp |  | 103-8566
D0004 | 1038 | DOROT CONTROL VALVES |  |  |  | 1058 |  |  | 1057 | www.dorot.com
D0005 | 1003 | DUNLOP |  |  |  | 1059 |  |  | 1058
D0006 | 1066 | DETROIT |  |  |  | 1188 |  |  | 1187
D0007 | 1310 | DRV DYNAMICS |  |  |  | 1193 |  |  | 1192
D0008 | 1330 | DEEP SEA ELECTRONICS |  |  |  | 1278 | UK, USA, INDIA, THAI |  | 1277 | www.deepseaplc.com
D0009 | 1331 | DEKORRA PRODUCTS |  |  |  | 1282 | USA |  | 1280 | www.dekorraproducts.com
E0001 | 1266 | EBRO ARMATUREN | Unit 2/6 Northumberland Road |  | Caringbah | 1060 | AUSTRALIA |  | 1059 | www.ebro-armaturen.com | NSW | 2229
E0002 | 1299 | EL-O-MATIC (BRAND) |  |  |  | 1061 |  |  | 1060
E0003 | 1182 | ENDRESS + HAUSER |  |  |  | 1062 |  |  | 1061 | www.endress.com
E0004 | 1222 | ENERMET |  |  |  | 1063 |  |  | 1062 | www.enermet.com
E0005 | 1244 | ERICO |  |  |  | 1064 |  |  | 1063 | www.erico.com
E0006 | 1324 | EUROTEC | 2/5 Wordsworth Street |  | Christchurch | 1267 | NEW ZEALAND |  | 1266 | www.eurotec.co.nz |  | 8023
F0001 | 1180 | Fantech | 55 Orbell Street | Sydenham | Christchurch | 1065 | New Zealand |  | 1064 | www.fantech.co.nz |  | 8144
F0002 | 1301 | FARRA ENGINEERING | 43 Cresswell Street, P O Box 672 |  | Dunedin | 1066 | NEW ZEALAND |  | 1065 | www.farra.co.nz
F0003 | 1240 | FEBCO |  |  |  | 1067 |  |  | 1066 | www.febcoonline.com
F0004 | 1016 | FG WILSON |  |  |  | 1068 |  |  | 1067 | www.fgwilson.com
F0005 | 1207 | FIREWATCH PROTECTION SERVICE | PO Box 302 793, North Harbour |  | North Shore City | 1069 | NEW ZEALAND |  | 1068 | www.firewatch.co.nz |  | 0751
F0006 | 1302 | Fischer & Porter |  |  |  | 1070 |  |  | 1069
F0007 | 1250 | FLOWLINE (BRAND) |  |  |  | 1071 |  |  | 1070
F0008 | 1297 | FORCE FLOW CHEMICAL MONITORING SYSTEMS |  |  |  | 1072 |  |  | 1071 | www.forceflow.com
F0009 | 1202 | Foxcroft Equipment & Services Company Inc | 2101 Creek Road |  | Glenmoore | 1073 | USA |  | 1072 | www.foxcroft.com | PA | 19343
F0010 | 1307 | Fusion Digital Communications Ltd | PO Box 9280 |  | Wellington | 1074 | NEW ZEALAND |  | 1073 | www.fdc.net.nz
F0011 | 1077 | FORD |  |  |  | 1197 |  |  | 1196
F0012 | 1312 | FIAC AIR COMPRESSORS |  |  |  | 1206 | UK |  | 1205 | www.fiacaircompressor.co.uk
F0013 | 1313 | FILTEC |  |  |  | 1207 | New Zealand |  | 1206 | www.filtec.co.nz
F0014 | 1321 | FLYGT | Unit 6, 4 O’Briens Road | PO Box 11078, Sockburn | Christchurch | 1264 |  |  | 1263
F0015 | 1327 | FASTFLO PUMP SYSYEMS | 41 Raiha Street, Elsdon, Porirua |  |  | 1274 |  |  | 1273 | www.fastflo.co.nz |  | 5022
G0001 | 1239 | GE Digital Energy |  |  |  | 1075 |  |  | 1074
G0002 | 1208 | GENERAL ELECTRIC COMPANY |  |  |  | 1198 |  |  | 1197
G0003 | 1256 | GEORG FISCHER | Unit 1, 100 Belmore Road North |  | Riverwood | 1076 | AUSTRALIA |  | 1075 | www.georgefischer.com.au | NSW | 2210
G0004 | 1001 | GILLIES METALTECH | 28 Tyne St, PO Box 440 |  | Oamaru | 1077 | New Zealand |  | 1076 | www.gillies.net.nz |  | 7400
G0005 | 1195 | GME | Unit 2, 24 Bishop Dunn Place | East Tamaki | Manukau | 1078 | New Zealand |  | 1077 | www.gme.net.au |  | 2013
G0006 | 1238 | GOLDAIR | PO Box 100-707, N.S.M.C |  | Auckland | 1079 | NEW ZEALAND |  | 1078 | www.goldair.co.nz
G0007 | 1008 | GRUNDFOS AUSTRALIA & NEW ZEALAND | 38 Klondyke Drive | Hornby South | Christchurch | 1080 | New Zealand |  | 1079 | www.grunfos.co.nz |  | 8042
G0008 | 1308 | GLOBAL WATER |  |  |  | 1199 |  |  | 1198
H0001 | 1270 | HACH |  |  |  | 1081 |  |  | 1080 | www.hach.com
H0002 | 1203 | HALOGEN VALVE SYSTEMS | 17961 Sky Park Circle, Suite A |  | Irvine | 1082 | USA |  | 1081 | www.halogenvalve.com | CA | 92614
H0003 | 1263 | HAWK VALVE | 17511 West Strack Drive |  | Spring | 1083 | USA |  | 1082 | www.hawkalve.com | TX | 77379
H0004 | 1291 | HAWLE | Liegnitzer Straße 6 | D-83395 Freilassing |  | 1084 | GERMANY |  | 1083 | www.hawle.de
H0005 | 1265 | HDL [Hillen de Lelie] | Radeweg 12, 8171MD | P.O. box 73 | Vaassen | 1085 | The Netherlands |  | 1084 | www.hdl.nl |  | 8170AB
H0006 | 1071 | Hitachi Industrial Equipment Systems Co. Ltd |  |  |  | 1086 | AUSTRALIA |  | 1085 | www.hitachi.com.au
H0007 | 1230 | HONEYWELL LIMITED | 264 MT EADEN ROAD |  | AUCKLAND | 1087 | NEW ZEALAND |  | 1086 | www.honeywell.co.nz
H0008 | 1304 | HP |  |  |  | 1088 |  |  | 1087 | www.hp.com
H0009 | 1228 | HPM NEW ZEALAND LTD | PO BOX 33-1064 | Takapuna | Auckland | 1089 | New Zealand |  | 1088 | www.hpm.co.nz |  | 0740
H0010 | 1041 | HUMES | 32A Lucas Place | Frankton | Queenstown | 1090 | NEW ZEALAND |  | 1089 | www.humes.co.nz
H0011 | 1073 | HYCONTROL |  |  |  | 1091 |  |  | 1090 | www.hycontrol.com
H0012 | 1248 | Hynds Pipe Systems Ltd | 207 Great North Rd |  | Winton | 1092 | NEW ZEALAND |  | 1091 | www.hynds.co.nz
H0013 | 1346 | Haitima Valve B.V. | Blauwwater 23 | 5951 DB | Belfeld | 1308 | Netherlands |  | 1303
H0014 | 1349 | Hiwa |  |  |  | 1311 |  |  | 1306 | http://www.hiwa.cn/
I0001 | 1293 | INTECT INSTRUMENTS LTD | 59 Mandeville Street | Riccarton | Christchurch | 1093 | New Zealand |  | 1092 | www.intech.co.nz |  | 8011
I0002 | 1269 | INVENSYS |  |  |  | 1094 |  |  | 1093 | www.iom.invensys.com
I0003 | 1294 | IPLEX PIPELINES | 22 Braeburn Drive, PO Box 16225 |  | Christchurch | 1095 | NEW ZEALAND |  | 1094 | www.iplex.co.nz
I0004 | 1201 | ISKRA AVTOELEKTRIKA d.d. | 5290 Šempeter pri Gorici | Polje 15 |  | 1096 | Slovenia |  | 1095 | www.iskra-ae.com
I0005 | 1254 | ITT |  |  |  | 1097 |  |  | 1096 | www.itt.com
I0006 | 1317 | ITT W&WW | 9 Tawa Drive, North Harbour, Albany | PO Box 35 -618, Browns Bay |  | 1192 | New Zealand |  | 1191 | www.flygt.co.nz
I0007 | 1025 | ITT FLUID TECHNOLOGY INTERNATIONAL PTY (LOWARA) | Unit 3/1 Federation Way | Chifley Business Park | Mentone | 1098 | Australia |  | 1097 | www.lowara.com | VIC | 3194
I0008 | 1060 | ITT FLYGT (MERGED) | Unit 6, 4 O’Briens Road | PO Box 11078, Sockburn | Christchurch | 1099 | NEW ZEALAND |  | 1098 | www.flygt.co.nz
I0009 | 1196 | ITT GOULDS PUMPS (MERGED) |  |  |  | 1100 |  |  | 1099 | www.gouldspumps.com
I0010 | 1030 | ITT MCDONNELL & MILLER (MERGED) |  |  |  | 1101 |  |  | 1100 | www.mcdonnellmiller.com
I0011 | 1329 | IVECO |  |  |  | 1276 |  |  | 1275
J0001 | 1276 | JUMO PROCESS CONTROL INC | 8 Technology Boulevard |  | Canastota | 1102 | USA |  | 1101 | www.jumoplus.com | NY | 13032
J0002 | 1335 | JUNG |  |  |  | 1292 |  |  | 1288
J0003 | 1344 | JOHNSON SCREENS | 88 Brickyard Rd |  | Geebung | 1304 | Australia |  | 1299 | http://www.johnsonscreens.com | QLD | 4034
K0001 | 1035 | KENT METERS |  |  |  | 1103 |  |  | 1102 | www.kentmeters.co.nz
K0002 | 1300 | KENWU INDUSTRIES INC/ JOHN-VALVE | RM.C, 17FL,270 | CHUNG MING S. RD. | TAICHUNG | 1104 | TAIWAN, R.O.C. |  | 1103 | www.johnvalve.com.tw
K0003 | 1002 | KEYSTONE (BRAND) |  |  |  | 1105 |  |  | 1104 | www.keystonevalves.com
K0004 | 1260 | KINGFISHER/ SEMAPHORE |  |  |  | 1106 |  |  | 1105 | www.cse-semaphore.com
K0005 | 1288 | KLEENSCREEN |  |  |  | 1107 |  |  | 1106 | www.kleenscreen.com
K0006 | 1217 | KOHLER POWER |  |  |  | 1108 |  |  | 1107 | www.kohlerpower.com
K0007 | 1245 | KOSYAIRE |  |  |  | 1109 |  |  | 1108
K0008 | 1069 | KROHNE |  |  |  | 1110 |  |  | 1109 | www.krohne.com
K0009 | 1013 | KSB NEW ZEALAND LTD | 2/5 Civil Place |  | North Shore City | 1111 | NEW ZEALAND |  | 1110 | www.ksbpumps.co.za |  | 0632
M0001 | 1214 | MARELLIE MOTORI S.p.A |  |  |  | 1112 |  |  | 1111 | www.marellimotori.com
M0002 | 1233 | MARKON |  |  |  | 1113 |  |  | 1112
M0003 | 1183 | MASKELL PRODUCTIONS LTD |  |  |  | 1114 | NEW ZEALAND |  | 1113 | www.maskell.co.nz
M0004 | 1261 | MD VALVES |  |  |  | 1115 |  |  | 1114
M0005 | 1268 | MEINECKE METERS | C/O Cross Instrumentation | 1621 Autumn Blvd | Conyers | 1116 | USA |  | 1115 | www.meineckemeters.com | GA | 30012
M0006 | 1319 | MENTARI SUPLINDO |  |  |  | 1201 |  |  | 1200 | www.mentari-s.com
M0007 | 1058 | MGE UPS SYSTEMS |  |  |  | 1117 |  |  | 1116 | www.mgeups.com
M0008 | 1274 | MOELLER |  |  |  | 1118 |  |  | 1117 | www.moeller.net
M0009 | 1172 | Mono Pumps (NZ) Ltd | P.O Box 71021, Rosebank | 35-41 Fremlin Place, Avondale | Auckland | 1119 | New Zealand |  | 1118 | www.monopumps.com.au
M0010 | 1028 | MOYGRO VALVES |  |  |  | 1120 |  |  | 1119
M0011 | 1227 | MULTITRODE |  |  |  | 1121 |  |  | 1120 | www.multitrode.com
M0012 | 1235 | MURPHY |  |  |  | 1122 |  |  | 1121
M0013 | 1328 | MATELEC AUSTRALIA | 8 Telford Drive, Shepparton |  |  | 1275 | Australia |  | 1274 | www.matelecaustralia.com.au | Victoria
M0014 | 1336 | MESCO | INDIA |  |  | 1294 |  |  | 1289 | http://mesco.co.in/mesco-pumps
N0001 | 1271 | NOAH (BRAND) |  |  |  | 1123 |  |  | 1122
N0002 | 1039 | NUSTART ELECTRICAL MOTORS |  |  |  | 1124 |  |  | 1123 | www.nustartmotors.co.za
O0001 | 1176 | OLYMPIAN GENERATORS |  |  |  | 1125 | AUSTRALIA |  | 1124 | www.olympiangenerators.com.au
O0002 | 1220 | OMRON ELECTRONICS LIMITED | 65 Boston Road | Mt Eden | Auckland | 1126 | New Zealand |  | 1125 | www.omron-ap.co.nz
O0003 | 1333 | ONIS VISA | ITALY |  |  | 1286 |  |  | 1283
P0001 | 1315 | PALL NEW ZEALAND | 27 Kaimiro Street | PO Box 10 492 | Hamilton | 1127 | NEW ZEALAND |  | 1126 | www.pall.com
P0002 | 1064 | PDL ELECTRICAL SOLUTIONS | 38 Business Parade South, Highbrook | PO Box 259 370, East Tamaki | Manukau | 1128 | NEW ZEALAND |  | 1127 | www.pdl.co.nz |  | 2013
P0003 | 1000 | PLEUGER TECHNIEK |  |  |  | 1129 |  |  | 1128 | www.pleuger.nl
P0004 | 1290 | PROPRIETAR |  |  |  | 1130 |  |  | 1129
P0005 | 1205 | POWER ELECTIC |  |  |  | 1131 |  |  | 1130
P0006 | 1237 | POWER MASTER TECHNOLOGY CO., LTD |  |  |  | 1132 |  |  | 1131 | www.powermaster.com
P0007 | 1024 | PROLINE (BRAND) |  |  |  | 1133 |  |  | 1132
P0008 | 1334 | PERKINS ENGINES COMPANY LTD | UK |  |  | 1289 | UK |  | 1285 | www.perkins.com
P0009 | 1343 | PENTAIR | 31 Canada Crescent | Hornby | Christchurch | 1303 | New Zealand |  | 1298 | http://nz.valves.pentair.com |  | 8042
R0001 | 1255 | RANCO Invensys Controls Group |  |  |  | 1134 |  |  | 1133 | www.invensyscontrolseurope.com
R0002 | 1252 | RHOMBERG |  |  |  | 1135 |  |  | 1134 | www.rhomberg.com.au
R0003 | 1181 | ROBUSCHI GERMANY | Ahnser Straße 5 | D – 31675 Bückeburg |  | 1136 | GERMANY |  | 1135 | www.robuschi.de
R0004 | 1198 | ROCKWELL AUTOMATION |  |  |  | 1137 |  |  | 1136 | www.rockwellautomation.com
R0005 | 1282 | ROTAVALVE (BRAND) |  |  |  | 1138 |  |  | 1137
R0006 | 1020 | RRJ |  |  |  | 1139 |  |  | 1138
R0008 | 1338 | ROTORK |  |  |  | 1296 |  |  | 1291 | www.rotork.com
S0001 | 1204 | SAGINOMIYA |  |  |  | 1140 | JAPAN |  | 1139 | www.saginomiya.co.jp
S0002 | 1194 | SALCOM TECHNOLOGIES (SEA AIR & LAND COMMUNICATIONS | 120 St Asaph Street | PO Box 22-621 | Christchurch | 1141 | New Zealand |  | 1140 | www.salcom.co.nz |  | 8142
S0003 | 1199 | SCHNEIDER ELECTRICAL | 11 Moncur Place | Addington | Christchurch | 1142 | NEW ZEALAND |  | 1141 | www.schneider-electric.co.nz |  | 8024
S0004 | 1210 | SELWOOD GROUP LTD | Bournemouth Road | Chandler's Ford | Eastleigh | 1143 | UK |  | 1142 | www.selwoodpumps.com | Hampshire | SO53 3ZL
S0005 | 1287 | SENIOR FLEXONICS NEW ZEALAND LTD | 5 Industry Road |  | Auckland | 1144 | NEW ZEALAND |  | 1143 | www.senior-flexonics.com
S0006 | 1004 | SHANGHAI BERNARD VALVE COMPANY |  |  | Shanghai | 1145 | CHINA |  | 1144 | www.bndvalve.com
S0007 | 1197 | SHIMADEN CO. LTD |  |  |  | 1146 | JAPAN |  | 1145 | www.shimaden.co.jp
S0008 | 1045 | SIEMENS NEW ZEALAND | 55 Hugo Johnston Drive | Penrose | Auckland | 1147 | New Zealand |  | 1146 | www.siemens.com |  | 1061
S0009 | 1221 | SIKA TECHNOLOGY LTD | 5 Carpenter Road | East Tamaki | Manukau | 1148 | New Zealand |  | 1147 | www.sikatech.co.nz |  | 2013
S0010 | 1219 | SIMTROL |  |  |  | 1149 |  |  | 1148 | www.simtrol.com
S0011 | 1289 | SKOPE Industries Limited | 66 Princess Street | PO Box 1091 | Christchurch | 1150 | New Zealand |  | 1149 | www.skope.co.nz |  | 8140
S0012 | 1275 | SMAR |  |  |  | 1151 |  |  | 1150 | www.smar.com
S0013 | 1021 | SOCOMEC GROUP |  |  |  | 1152 |  |  | 1151 | www.socomec.com
S0014 | 1209 | SOUTHERN CROSS |  |  |  | 1153 | AUSTRALIA |  | 1152 | www.southcross.com.au
S0015 | 1078 | STAMFORD |  |  |  | 1154 |  |  | 1153
S0016 | 1249 | STAUFF Corporation (NZ) Ltd. | Unit D, 103 Harris Road, East Tamaki | P.O. Box 204188 | Auckland | 1155 | New Zealand |  | 1154 | www.nz.stauff.com
S0017 | 1247 | STERIFLO (BRAND) |  |  |  | 1156 |  |  | 1155
S0018 | 1278 | SUPERTITE |  |  |  | 1157 |  |  | 1156
S0019 | 1262 | SWITCHBUILD LTD | 22 Melbourne St |  | Dunedin | 1158 | New Zealand |  | 1157 | www.switchbuild.co.nz |  | 9012
S0020 | 1325 | SCAME |  |  |  | 1268 | ITALY |  | 1267 | www.scame.com
S0021 | 1337 | SCOTT TECHNICAL SCOTT TECHNICAL |  |  |  | 1295 |  |  | 1290 | www.scotttech.net
S0022 | 1347 | Smith & Loveless Inc |  |  | Kansas | 1309 | USA |  | 1304
S0023 | 1350 | Sulzer |  |  |  | 1312 | Switzerland |  | 1307 | www.sulzer.com
S0024 | 1351 | Schneider |  |  |  | 1313 | France |  | 1308 | http://www.schneider-electric.
T0001 | 1296 | TAYLOR VALVE TECHNOLOGY |  |  |  | 1159 |  |  | 1158 | www.taylorvalve.com
T0002 | 1258 | TELTHERM INSTRUMENTS LTD | 295 Neilson Street | Onehunga | Auckland | 1160 | New Zealand |  | 1159 | www.teltherm.co.nz
T0003 | 1072 | TERCEL INTERNATIONAL |  |  |  | 1161 |  |  | 1160 | info.vic@tercel.com.au
T0004 | 1280 | TIDEFLEX TECHNOLOGIES | 600 North Bell Ave. Bldg. 2 |  | Carnegie | 1162 | USA |  | 1161 | www.tideflex.com | PA | 15106
T0005 | 1192 | (TKL) Flowserve Pump Division | 18 Hammersmith Drive | Wigram | Christchurch | 1163 | NEW ZEALAND |  | 1162 | www.tkl.com.au
T0006 | 1186 | TOMAL METERING SYSTEMS |  |  |  | 1164 |  |  | 1163 | www.tomal.com.au
T0007 | 1081 | TRIOBEX (BRAND) |  |  |  | 1165 |  |  | 1164
T0008 | 1075 | TSURUMI PUMP |  |  |  | 1166 |  |  | 1165 | www.tsurumipump.com
T0009 | 1264 | TURNFLO |  |  |  | 1167 |  |  | 1166
T0011 | 1316 | Tyco Flow Control New Zealand | 8 Fisher Crescent, Mt Wellington | P.O.Box 12169, Penrose | Auckland | 1187 | NEW ZEALAND |  | 1186 | www.tycoflowcontrol.com.au
T0012 | 1232 | Thermo Poly |  |  |  | 1203 |  |  | 1202
T0013 | 1340 | Trojan UV | 102A Carbine Road | P.O. Box 132-329 | Auckland | 1298 | New Zealand |  | 1293 | www.filtec.co.nz |  | 1644
T0014 | 1345 | Teknofanghi S.r.l | Via Brescia, 18 | 20063 Cernusco | Milano | 1307 | Italia |  | 1302 | http://www.teknofanghi.com
U0001 | 1065 | UNIVERSAL FAN & BLOWER LTD |  |  |  | 1168 |  |  | 1167 | www.universalfan.com
U0002 | 1052 | US FILTER |  |  |  | 1169 |  |  | 1168 | www.usfilter.com
V0001 | 1082 | VADE (BRAND) |  |  |  | 1170 |  |  | 1169
V0002 | 1033 | VALCO INSTRUMENTS CO. INC. (VICI) |  |  |  | 1171 |  |  | 1170 | www.vici.com
V0003 | 1179 | VAL-MATIC VALVE & MANUFACTURING CORP. | 905 Riverside Dr. |  | Elmhurst | 1172 | USA |  | 1171 | www.valmatic.com | IL | 60126
V0004 | 1223 | VARPLUS |  |  |  | 1173 |  |  | 1172
V0005 | 1273 | VENT-O-MAT |  |  |  | 1174 |  |  | 1173 | www.ventomat.com
V0006 | 1005 | VIAGIVITA |  |  |  | 1175 |  |  | 1174
V0007 | 1173 | VICTAULIC | P.O. Box 173 |  | Williamstown | 1176 | Australia |  | 1175 | www.victaulic.com | VIC | 3016
V0008 | 1225 | VISION RECHARGABLE PRODUCTS |  |  |  | 1177 |  |  | 1176 | www.vision-batt.com
V0009 | 1184 | VoR ENVIRONMENTAL |  |  |  | 1178 |  |  | 1177 | www.vor-env.com
V0010 | 1326 | Visa Energy | Northampton, UK |  |  | 1272 |  |  | 1271 | www.visaenergy.com
V0011 | 1348 | Value Valves |  |  |  | 1310 |  |  | 1305 | www.valuevalves.com
W0001 | 1193 | WALLACE & TIERNAN |  |  |  | 1179 |  |  | 1178 | www.wallace-tiernan.de
W0002 | 1318 | WALLIS GROUP |  |  |  | 1200 | AUSTRALIA |  | 1199 | www.walliswater.com.au
W0003 | 1189 | WEDECO |  |  |  | 1180 |  |  | 1179 | www.wedeco.com
W0004 | 1286 | WEG |  |  |  | 1181 |  |  | 1180 | www.weg.net
W0005 | 1177 | WILKINS |  |  |  | 1182 |  |  | 1181
W0006 | 1023 | WOODS |  |  |  | 1183 |  |  | 1182
W0007 | 1200 | WOODWARD | PO Box 1519 |  | Fort Collins | 1184 | USA |  | 1183 | www.woodward.com | Colorado | 80522-1519
W0008 | 1226 | WALL MURRY |  |  |  | 1202 |  |  | 1201
W0009 | 1342 | WESTFALL |  |  |  | 1302 |  |  | 1297 | www.westfallmfg.com
Y0001 | 1243 | Yokogawa NZ Ltd | PO Box 201188 | Auckland Airport | Auckland | 1185 | New Zealand |  | 1184 | www.yokogawa.com
Y0002 | 1322 | YUASA |  |  |  | 1265 | USA |  | 1264 | www.yuasabatteries.com
Z0001 | 1332 | ZENNER ZENNER FUZHOU Water Meter Co. Ltd. | www.zennerfuzhou.com/en/index.asp |  |  | 1285 | CHINA |  | 1282
|  | Power Master Inc | POWER MASTER INTERNATIONAL | 19177 N.W. 19 Street | Hollywood | 1005 | USA |  | 1005 |  | FL | 33029
[6 empty] | 1281 |  |  | 1
|  |  | www.zennerfuzhou.com/en/index.asp |  |  | 1284 | CHINA |  | 1
|  |  | UK |  |  | 1288 |  |  | 1
|  |  | INDIA |  |  | 1293 |  |  | 1

## Process Lookup (hidden)
Process Area | Process Desc | Usage Area | Compkey
1 | General & Ancillary | STSD-01 | 276402
2 | Inlet & Screening | STSD-02 | 276403
3 | Biological Treatment | STSD-03 | 276404
4 | Clarifier | STSD-04 | 276405
5 | RAS / Sludge Return Line | STSD-05 | 276406
6 | Sludge Handling / Drying | STSD-06 | 276407
7 | Disinfection | STSD-07 | 276408

## Asset Type Lookup
Asset Type Name | Asset Type Code | Finance Group | AMS
Air blower building | ABL | Buildings | Other
Chain Block | CBK | Buildings | Structures
Chamber Lid | CML | Buildings | Structures
Drywell | DWL | Buildings | Structures
Embankment | EMB | Buildings | Structures
Emergency Storage | EMG | Buildings | Structures
Fences | FNC | Buildings | Structures
Foundation | FON | Buildings | Structures
Flood Protection Barrier | FPB | Buildings | Structures
Gantry | GAN | Buildings | Structures
Hoist | HST | Buildings | Structures
Inlet Chamber | INT | Buildings | Structures
Landscaping | LAN | Buildings | Other
Lifting Beam | LFB | Buildings | Structures
MCC building | MCC | Buildings | Structures
Pressure Break Tank | PBT | Buildings | Structures
Pump Chamber | PCM | Buildings | Structures
Pump station building | PUS | Buildings | Other
Reservoir | REV | Buildings | Reservoir
Access Road | ROA | Buildings | Structures
Retaining Walls/ Bund | RTW | Buildings | Structures
Sound Barrier | SBR | Buildings | Structures
Shed | SHD | Buildings | Structures
Storage Chamber | STR | Buildings | Structures
Temporary Storage | TMS | Buildings | Structures
Tank | TNK | Buildings | Structures
Trailer | TRL | Buildings | Other
UV plant building | UVP | Buildings | Structures
Valve Chamber | VLC | Buildings | Structures
Water Blaster | WBR | Buildings | Motors/ Compressors
Wet Well Lid | WWL | Buildings | Structures
Air Blower | ABL | Electrical | Electrical Equipment/Components
Air Conditioner | ACD | Electrical | Electrical Equipment/Components
Aerator | AET | Electrical | Electrical Equipment/Components
Analyser Indicator Controller | AIC | Electrical | Electrical Equipment/Components
Assembly Kit | ASB | Electrical | Electrical Equipment/Components
Alarm System | ASM | Electrical | Electrical Equipment/Components
Autosampler | AUT | Electrical | Electrical Equipment/Components
backup Battery | BAT | Electrical | Electrical Equipment/Components
Cabinetry | CAB | Electrical | Electrical Equipment/Components
Chlorine Analyser | CAZ | Electrical | Electrical Equipment/Components
Cabling | CBL | Electrical | Electrical Equipment/Components
Chlorine Doser | CDB | Electrical | Pipes And Fittings
Chlorine Leak Detector | CLD | Electrical | Electrical Equipment/Components
Chlorine Sensor | CLS | Electrical | Electrical Equipment/Components
Computer | CMP | Electrical | Other
Control Panel | CNP | Electrical | Electrical Equipment/Components
Conveyor | CNV | Electrical | Other
DO Meter | DOM | Electrical | Electrical Equipment/Components
Dose/Volume Timer | DVT | Electrical | Electrical Equipment/Components
Electrical Dosing Drive | EDD | Electrical | Electrical Equipment/Components
Electrical Controls | ELE | Electrical | Electrical Equipment/Components
Electrical Services | ELS | Electrical | Electrical Equipment/Components
Fan | FAN | Electrical | Motors/ Compressors
Flow Indicator Controller | FIC | Electrical | Electrical Equipment/Components
Flowmeter | FLM | Electrical | Electrical Equipment/Components
Fire System | FRE | Electrical | Electrical Equipment/Components
Flow Switch | FSW | Electrical | Electrical Equipment/Components
Generator Controller | GNC | Electrical | Electrical Equipment/Components
Harmonic Filter | HAR | Electrical | Electrical Equipment/Components
Human Machine Interface | HMI | Electrical | Electrical Equipment/Components
Heater | HTR | Electrical | Electrical Equipment/Components
Level Control | LCU | Electrical | Electrical Equipment/Components
Level Indicator | LEI | Electrical | Electrical Equipment/Components
Limit Switch | LMT | Electrical | Electrical Equipment/Components
Lightening Arrester | LPU | Electrical | Electrical Equipment/Components
Level Sensor | LSN | Electrical | Electrical Equipment/Components
Level Transmitter | LTM | Electrical | Electrical Equipment/Components
Level Transducer | LTR | Electrical | Electrical Equipment/Components
Meter | MET | Electrical | Electrical Equipment/Components
Moisture Monitoring Probe | MOI | Electrical | Electrical Equipment/Components
Motor Protection Relay | MPR | Electrical | Electrical Equipment/Components
Motor Control | MTC | Electrical | Electrical Equipment/Components
pH Analyser | PHA | Electrical | Electrical Equipment/Components
Programme Logic Controller | PLC | Electrical | Electrical Equipment/Components
Pump Control | PMC | Electrical | Electrical Equipment/Components
Pressure Gauge | PRG | Electrical | Electrical Equipment/Components
Pressure Switch | PRS | Electrical | Electrical Equipment/Components
Pressure Sensor | PSN | Electrical | Electrical Equipment/Components
Satellite Dish | SAL | Electrical | Electrical Equipment/Components
Sampler | SAM | Electrical | Electrical Equipment/Components
Speed Indicator | SPI | Electrical | Electrical Equipment/Components
Solar Panel | SPN | Electrical | Electrical Equipment/Components
Soft Starter | STA | Electrical | Electrical Equipment/Components
Switchboard | SWB | Electrical | Electrical Equipment/Components
Tarriff Metering | TAR | Electrical | Electrical Equipment/Components
Temperature Switch | TEM | Electrical | Electrical Equipment/Components
Temperature Indicator Controll | TIC | Electrical | Electrical Equipment/Components
Temperature Alarm | TMA | Electrical | Electrical Equipment/Components
Temperature Element | TME | Electrical | Electrical Equipment/Components
Pressure Transducer | TRA | Electrical | Electrical Equipment/Components
Transformer | TRN | Electrical | Electrical Equipment/Components
UPS | UPS | Electrical | Electrical Equipment/Components
Variable Dosing Drive | VDD | Electrical | Electrical Equipment/Components
Vibration Switch | VIB | Electrical | Electrical Equipment/Components
Variable Speed Drive | VSD | Electrical | Electrical Equipment/Components
Fuel Tank | FNK | Generators | Structures
Generator Connection | GCN | Generators | Electrical Equipment/Components
Generator | GEN | Generators | Motors/ Compressors
Generator Synchroniser | GSY | Generators | Electrical Equipment/Components
Air Valve | AIV | Hydrants/Valves | Valves
Backflow Preventor | BKP | Hydrants/Valves | Pipes And Fittings
Camlock Coupling | CAM | Hydrants/Valves | Valves
Flushing Connection | FLS | Hydrants/Valves | Valves
Hammer Resister | HAM | Hydrants/Valves | Pipes And Fittings
Hydrants | HYD | Hydrants/Valves | Pipes And Fittings
Isolating valve | ISO | Hydrants/Valves | Valves
Non Return Valve | NRV | Hydrants/Valves | Valves
Pressure Reducing, Sustaining | PRV | Hydrants/Valves | Valves
Surge Anticipating Valve | SAT | Hydrants/Valves | Valves
Ball, Gate, Sluice etc | SLV | Hydrants/Valves | Valves
Solenoid Valve | SOL | Hydrants/Valves | Valves
Surge Controller | SUR | Hydrants/Valves | Valves
Sample tap or similar | TAP | Hydrants/Valves | Valves
Tobys | TBV | Hydrants/Valves | Valves
TEE | TEE | Hydrants/Valves | Valves
Valve | VLV | Hydrants/Valves | Valves
V - Notch Weir | VNW | Hydrants/Valves | Structures
Weir/ Slide Gate | WER | Hydrants/Valves | Valves
Air Valve Chamber | AIR | Manholes | Structures
Bunker | BNK | Manholes | Structures
Balance Tank | BTK | Manholes | Structures
Chlorine Inlet Chamber | CIT | Manholes | Structures
Chamber | CMB | Manholes | Structures
Flowmeter Chamber | FLC | Manholes | Structures
Headworks Chamber | HDC | Manholes | Structures
Inspection Chamber | INC | Manholes | Structures
Junction Chamber | JUC | Manholes | Structures
Manhole/ Lampholes/ Cleaning E | MHL | Manholes | Structures
Outlet Chamber | OCH | Manholes | Structures
Pipe Chamber | PCH | Manholes | Structures
Screen Chamber | SCM | Manholes | Structures
Soakpit | SPT | Manholes | Pipes And Fittings
Bore | BRE | Pipework | Pipes And Fittings
Drainage / Discharge | DRN | Pipework | Pipes And Fittings
Dispersal Trench | DTR | Pipework | Pipes And Fittings
Emergency Shower | EMS | Pipework | Pipes And Fittings
Pipes and Fittings | FIT | Pipework | Pipes And Fittings
Flexible Joint | FLJ | Pipework | Pipes And Fittings
Grilles | GRS | Pipework | Pipes And Fittings
Hose Reel/Hose | HOS | Pipework | Pipes And Fittings
Insulation Box | INB | Pipework | Structures
Irrigation System | IRR | Pipework | Pipes And Fittings
Pipework | PIP | Pipework | Pipes And Fittings
Pump Rails | PPR | Pipework | Pipes And Fittings
Surge Chamber | SCH | Pipework | Structures
Sprinklers | SPR | Pipework | Pipes And Fittings
Surge Tank | STK | Pipework | Structures
Sump | SUM | Pipework | Pipes And Fittings
Well | WLL | Pipework | Structures
Compressor | COM | Pumps | Motors/ Compressors
Motor | MTR | Pumps | Motors/ Compressors
Pump | PMP | Pumps | Pumps
Ventilation | VNT | Pumps | Other
IT Hardware | ITH | Software | Electrical Equipment/Components
Software | SWR | Software | Other
Antenna/ Arial | ANT | Telemetry | Electrical Equipment/Components
Analogue Output Module | AOM | Telemetry | Electrical Equipment/Components
Telemetry | TEL | Telemetry | Electrical Equipment/Components
Telemetry Radio | TRR | Telemetry | Electrical Equipment/Components
Telemetry Unit | TUR | Telemetry | Electrical Equipment/Components
Bin/Skip | BIN | Treatment | Structures
Centrifuge | CNT | Treatment | Motors/ Compressors
Cesspit / Mudtank | CPT | Treatment | Pipes And Fittings
Chemical Storage Tanks | CST | Treatment | Pipes And Fittings
Chlorine Trolley Load | CTL | Treatment | Other
Chlorine Weigh Pads | CWP | Treatment | Electrical Equipment/Components
Decanter | DCT | Treatment | Pipes And Fittings
Diffuser | DIF | Treatment | Pipes And Fittings
Decant Tank | DNT | Treatment | Structures
Filtration Bed/ Biofilter | FBB | Treatment | Structures
Cartridge Filter | FLT | Treatment | Pipes And Fittings
Grit Classifier | GRC | Treatment | Structures
Grease Tank | GRE | Treatment | Structures
Grit Removal | GRT | Treatment | Structures
Lime Hopper & Feeder | LFS | Treatment | Other
Macerator | MAC | Treatment | Pumps
Mixer | MIX | Treatment | Motors/ Compressors
Odour Absorbtion Bed | OAB | Treatment | Structures
Odour Control Unit | OCU | Treatment | Structures
Overflow (spillway) | OFL | Treatment | Pipes And Fittings
Polymer Tank | PLY | Treatment | Structures
Pond | PND | Treatment | Structures
Pollution Inteceptor | POL | Treatment | Structures
Pressure Washer | PWS | Treatment | Pipes And Fittings
Rotating Biological Contactor | RBC | Treatment | Structures
Rotameter | ROT | Treatment | Valves
SBR | SBT | Treatment | Structures
Scales | SCL | Treatment | Electrical Equipment/Components
Mechanical Screen | SCR | Treatment | Other
Screen | SCR | Treatment | Other
Septic Tanks | SEP | Treatment | Structures
Sludge Storage Tank | SLT | Treatment | Structures
Turbidity Meter | TUM | Treatment | Electrical Equipment/Components
UV System | UVS | Treatment | Structures
Waveboard | WVB | Treatment | Structures